## Sheet1
Acoutic Calculator
Specify your slat width and gap manually below to calculate open area…
Slat Width (mm) | Gap (mm) | Open Area (%) |  | Open Area | Acoustic Class*
19 | 13 | 40.62% |  | 40% + | A
|  |  |  | 30-40% | B
|  |  |  | 20-30% | C
|  |  |  | 10-20% | D
* Approximation based upon benchmark testing
Use this calculator for multiple widths, specify the width and ratio for each slat…
Slat Widths (mm) | No. of slats per module | Gap (mm) | Open Area (%)
19 |  | 19 | 21.59%
44 | 1
69
94 | 1
Slat Widths Explained
Timber is sawn at the mill into boards measured in impirical inches, 1"x4", 2"x4" etc. 1" = 25.4mm so these roughly correspond to 25x100mm, 50x100mm etc. These boards have a rough finish to them, usually only used for structural timber, eg partition studs, joists. In order to get a smooth finish, the timber is planed smooth reducing each dimension by 6mm. For more information see the table below.
Sawn Dimension (inches) | Sawn Dimension (mm) | Planed Smooth Dimension (mm)
1" | 25 | 19
2" | 50 | 44
3" | 75 | 69
4" | 100 | 94
5" | 125 | 119
6" | 150 | 144
8" | 200 | 194
10" | 250 | 244
It is most cost-efficient to choose timber sizes that are the same as the dimensions in the table. 144mm --> 0% timber waste
Finished sizes that are marginally smaller than the dimensions above are also reasonably coast-efficient and result in minimal waste, eg. 140mm --> 144-140 / 144 = 2.7% timber waste
Finished sizes that are fractionally larger than the sizes above are NOT cost-efficient and produce large amounts of waste, eg. 150mm --> 194 - 150 / 194 = 22% timber waste